Checklist for Fire Door Assembly Inspection (FDAI)                                  Insp. By:  ____________  Date:  __________

Facility:  ___________________  Opening #:  __________________  Rating:  _____________  Compliant?:  ( Yes   ( No

Opening Location: ____________________________________________________________________  Floor:  __________

(1) No holes or breaks in door or frame.	(  Pass  	(  Fail	(  N/A

(2) Glazing and glass kit/glass beads are intact and securely fastened.	(  Pass  	(  Fail	(  N/A

(3) Door, frame, and hardware are in proper working order.  Label is intact and legible.	(  Pass  	(  Fail	(  N/A

(4) No missing or broken parts.	(  Pass 	(  Fail	(  N/A

(5) Door clearances are within allowable limits. (1/8” wood, 3/16” hm, 3/4” bottom)	(  Pass  	(  Fail	(  N/A

(6) Door closer/spring hinges are operational and door is self-closing.	(  Pass  	(  Fail	(  N/A

(7) Coordinator ensures that door leaves close in proper sequence (pairs only).	(  Pass  	(  Fail	(  N/A

(8) Door is self-latching in the closed position.	(  Pass  	(  Fail	(  N/A

(9) Opening not equipped with auxiliary hardware items which interfere with operation.	(  Pass  	(  Fail	(  N/A

(10) No field modifications have been performed that void the label.	(  Pass  	(  Fail	(  N/A

(11) Gasketing, where required, is present, continuous, and of the proper type.	(  Pass  	(  Fail	(  N/A

Notes:

Photos:  _____________________________________________________________  Label #:  ________________________